Annex C
Technical Proposal
	Name of Participant:
	[Insert Name of Participant]
	Date:
	

	CFB reference:
	No. CFB/MDA/EQ3/WT/15/2026



Where a descriptive response is requested, failure to provide the same will be viewed as non-responsive.
The bidder's offer should be organized to follow this format of the Technical Proposal. The participant must describe the exact type of each offered item and provide relevant product information or visualization for each item. The quality of the goods offered may exceed the minimum technical requirements of this CFB. 

	No
	MINIMUM REQUIREMENTS
	Technical specification
	OFFER 1
	OFFER 2
	OFFER 3

	
	
	
	Brand / Model / PN / Origin
	Brand / Model / PN / Origin
	Brand / Model / PN / Origin

	1
	Water reserve and sustainment – 1200-litre water storage tank
	Water storage tank for field water reserve and sustainment, increasing reserve capacity and ensuring continuity of support functions under emergency conditions when the mains water supply is disrupted or unavailable; nominal capacity 1200 litres; single-piece rotationally-moulded construction from UV-stabilised, food-grade polyethylene (HDPE/MDPE) suitable for storage of potable water; non-pressurised (atmospheric/gravity-fed) freestanding tank for above-ground outdoor installation; minimum wall thickness 5 mm; screw-on inspection lid/manhole providing access for cleaning and maintenance, with insect-proof breather vent; minimum one bottom or side outlet port (minimum 1" BSP) fitted with a shut-off/drain valve; integrated level indicator or translucent capacity markings; smooth internal surface to minimise sediment/algae build-up; UV-stabilised and weather-resistant for continuous outdoor use across the full ambient temperature range expected in theatre; empty tank weight not exceeding approximately 45 kg for manual handling; complete with manufacturer's compliance documentation confirming suitability for potable water contact, and user/installation instructions in English.
	
	
	



We attach the following: 
a) Technical information (if necessary) – ……. (number of pages); 

Authorized signature: ___________________________ 
(Name of authorized signatory)
 
Functional Title: ___________________
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